PURGENVENT Model 7910MAV

2.1	AIR VENTING VALVES

Series:  PURGEnVENT as manufactured by AGF Manufacturing, Inc.

Product:  Model M7910MAV. Manual Air Venting Valve is a 1/2 inch (13 mm) ball valve with a mesh strainer and ball float.

Standard:  UL's "Product iQ" .  NFPA 13, 13R, 13D (as applicable).

Pressure Rating:  300 psig (2070 kPa).

Body Material:  Forged brass body.

Components:  Stainless steel inlet screen (60 mesh), polypropylene float,

Inlet Size:  1/2 inch (13 mm) NPT.

Outlet Size:  1/2 inch (13 mm) NPT.